## Slide 1: Smart India Hackthon 2024
Problem Statement ID – 1582
Problem Statement Title- System to check the healthiness of earthing system and alert staff in case of any malfunction.
Theme- Miscellaneous
Problem Statement Category- Hardware
Team Name – Tech Titans1

## Slide 2: Earth Leakage Monitoring and Alert System
Tech
Titans1
Proposed Solution:
Real-time earth leakage monitoring system:
Sensors and low-power network.
Detects malfunctions, transmits data.
Location, alerts, messages.
Addressing the Problem:
Additional Safety Layer: Sensors provide real-time alerts by communicating with the nearest base station during faults.
Real-time Monitoring: Data is sent to a central system, reducing manpower and improving reliability and safety.

## Slide 3: Technical Approach
Tech
Titans1
Continuous Monitoring System
Microcontroller: Arduino Uno.
Sensors: Earth Leakage Current sensor, Earth Resistance Sensor, Humidity sensor, Temp. sensor, smoke detector and others.
DC Power Supply: Rechargeable battery.
Data Collection
Parent Pole
Via wired cables by mesh network.
Monitoring Software
Transmission
Information Transmited to Parent Pole
Transit data via wired cable.
Sound System-ultrasonic electronic repelent for animals and message for humans.
LED Light
Informing Electrical Department :)
Alert System Generation

## Slide 4: Impact & Benefits
Impact:
Societal: Saves lives of humans and animals from electrical hazards.
Financial: Reduces repair costs and extends equipment life.
Technical: Early detection and diagnosis.
Tech
Titans1
Benefits:
Improves power quality and reduces energy loss.
Early warning system for potential hazards.
Environmental monitoring with sensors (humidity, temperature).
Detects illegal energy consumption.
Ensures reliable earthing system for overall stability.

## Slide 5: Feasibility & Viability
Tech
Titans1
    Challenges:
Interference: Sensors conflict.
Environment: Affects sensors reliability.
    Costs: Manage expenses.
    Noise: Impacts sensors functionality.
Strategies:
Separate sensors: Avoid interference.
Isolation: Separate sensors.
Optimize components: Balance cost and performance.
Filter noise: Reduce noise problems.
Feasibility And Viability:
Technical: Wide and cheap components.
Financial: Prevents big losses.
Operational: Saves time and work.
Maintenance: Simple upkeep.
Compliance: Follows safety rules.
Reliability: Keeps systems working longer.
Uniqueness:
Reduces financial losses after faults.
Rapid response: Low-latency system.
Long-term safety: Proactive protection.

## Slide 6: Research & Reference
Tech
Titans1
Websites
http://www.electroschematics.com
http://tinkercad.com
http://robokits.co.in
Images
http://timesofindia.indiatimes.com
http://www.canva.com
Youtube Channel
https://m.youtube.com/@robojax
Articles
“IEC 60364-7-714", 1996-04 1st Ed. Electrical Installations of Buildings Part 7. Requirements for Special Installations or Locations Section 714: External Lighting Installations, 1996
“IEC 60364-4-41", Low-Voltage Electrical Installations Part 4-41: Protection for Safety Protection Against Electric Shock 2005 Ed.5, 2005.